## Sheet1
Installed Capacity
SL. | RE Source | Technology | Quantity | Off-grid MW | On-grid MW | Total MW
1 | Solar | Solar Park | 5 | 0 | 88.4 | 88.4
|  | Rooftop Solar (Except NEM) | 112 | 14.201 | 25.067 | 39.268
|  | Rooftop Solar (With NEM) | 1234 | 0 | 22.771 | 22.771
|  | Solar Irrigation | 1926 | 44.115 | 0.029 | 44.144
|  | Solar Telecom Towers | 1933 | 8.06 | 0 | 8.06
|  | Solar Minigrid | 27 | 5.656 | 0 | 5.656
|  | Solar Microgrid | 0 | 0 | 0 | 0
|  | Solar Nanogrid | 2 | 0.001 | 0 | 0.001
|  | Solar Charging Station | 14 | 0.266 | 0.016 | 0.282
|  | Solar Street Light | 296061 | 16.7 | 0 | 16.7
|  | Solar Home System | 6023631 | 262.75 | 0 | 262.75
|  | Solar Drinking Water System | 82 | 0.095 | 0 | 0.095
2 | Wind | All Wind Projects | 3 | 2 | 0.9 | 2.9
3 | Hydro | All Hydro Projects | 1 | 0 | 230 | 230
4 | Biogas | Biogas to Electricity | 6 | 0.63 | 0 | 0.63
|  | Biogas Plant | 83431 | 0 | 0 | 0
5 | Biomass | Biomass to Electricity | 1 | 0.4 | 0 | 0.4
Total |  |  | 6408469 | 354.874 | 367.183 | 722.057
Last Update Feb 23 2021
Component | Until 2020 | 2021-2030 | 2031-2041 | Cumulative
Solar Power Hub (Utility + IPP) | 0 | 500 | 1200 | 1700
Solar PV addition by Utilities | 15 | 400 | 800 | 1215
Solar PV addition by solar IPPs | 160 | 450 | 800 | 1410
Rooftop PV systems | 50 | 250 | 405 | 705
Solar irrigation pumps | 40 | 300 | 205 | 545
Solar mini-/micro-/nano-grids | 6 | 10 | 0 | 16
Solar home systems | 252 | 5 | 0 | 257
Solar telecom towers | 9 | 10 | 14 | 33
Solar street lights | 11 | 8 | 10 | 29
Solar charging station | 1 | 25 | 54 | 80
Other PV systems | 2 | 3 | 5 | 10
* Data source: National SOlar roadmap 2021-2041 by SREDA
| Off-Grid (MW) | On-Grid(MW) | Total(MW)
Solar | 346.19 | 142.02 | 488.21
Wind | 2 | 0.9 | 2.9
Hydro | 0 | 230 | 230
Biogas to Electricity | 0.63 | 0 | 0.63
Biomass to Electricity | 0.4 | 0 | 0.4
Total | 349.22 | 367.5 | 0.4