## Sheet1
LocationWithDetails | LAT | LONG | status | capacity | WindSpeed | Elevation | Rainfall | LandArea | Slope | NearTL | SoilStrngth | NearRoad | NearWaterRcsr | NearPopulatedArea | OpMCost
50MW Wind Power Plant at the bank of the Padma River, Padma Bridge Status: Predicted Lat,Long: 23.39657, 90.26426 Upazilla: Zajira District: Shariatpur Division: Dhaka | 23.3966 | 90.2643 | Predicted | 50 | 5.021 | 23 | 373.1 | 6264066 | 20 | 320 | 6 | 250 | 450 | 1200 | 5
60 MW Wind Power Project at Coxs Bazar by US-DK Green Energy (BD) Ltd Status: Implementation Ongoing Lat,Long: 21.434746, 92.005303 Upazilla: Chakaria District: Cox's Bazar Division: Chittagong | 21.4347 | 92.0053 | Implementation Ongoing | 60 | 5.66 | 23 | 924.6 | 2664067.824 | 10 | 500 | 5 | 700 | 500 | 700 | 6
Design, Supply, Installation, Testing and Commissioning of 2 MW Capacity Wind Power Plant on turnkey basis at the bank of the River Jamuna adjacent to the existing Sirajganj 150 MW Power Plant , Sirajganj, Bangladesh Status: Implementation Ongoing Lat,Long: 24.443682, 89.686801 Upazilla: Sirajganj Sadar Upazila District: Sirajgonj Division: Rajshahi | 24.4437 | 89.6868 | Implementation Ongoing | 2 | 4.76 | 50 | 320.7 | 3229173.12 | 10 | 300 | 5 | 300 | 200 | 1000 | 7
Mongla 55 MW Wind Power Plant by Consortium of Envision Energy (Jiangsu) Co. Ltd., SQ Trading and Engineering & Envision Renewable Energy Bangladesh Limited Status: Under Planning Lat,Long: 22.499534, 89.60359 Upazilla: Mongla Upazila District: Bagerhat Division: Khulna | 22.4995 | 89.6036 | Under Planning | 55 | 5.19 | 13 | 335.6 | 7750015.488 | 10 | 750 | 4 | 750 | 100 | 2600 | 7
10MW Wind Power Plant at the bank of the Gaghat river Status: Predicted Lat,Long: 25.31939, 89.57470 District: Gaibandha Division: Rangpur | 25.3194 | 89.5747 | Predicted | 10 | 4.98 | 76 | 464.8 | 5364210.64 | 25 | 300 | 8 | 300 | 4000 | 2170 | 8
1MW Wind Power Plant Status: Predicted Lat,Long: 24.90099, 91.82793 Upazilla: Sylhet Sadar District: Sylhet Division: Sylhet | 24.901 | 91.8279 | Predicted | 1 | 3.84 | 44 | 818 | 1262630.89 | 22 | 200 | 6 | 200 | 500 | 1000 | 8
10 MW Wind Power Plant Status: Under Planning Lat,Long: 22.016073, 90.175997 Upazilla: Kalapara Upazila District: Patuakhali Division: Barisal | 22.0161 | 90.176 | Under Planning | 10 | 5.357 | 14 | 572.8 | 9686700 | 9 | 1500 | 3 | 500 | 100 | 5000 | 7
2MW Wind Power Plant Status: Predicted Lat,Long: 24.74325, 90.44184 Division: Mymensingh | 24.7432 | 90.4418 | Predicted | 2 | 4.2 | 38 | 436.3 | 4580732.8 | 15 | 946.22 | 8 | 946.22 | 500 | 2190 | 8